# Meeting Notes 10.05.06

# Attendees: Gregory Kiss, Joe Lengeling, Shefali Sanghvi, Silvia Steude

# Principles -

of performance:

- no stormwater discharge

- daylight/windows in all habitable/occupied spaces

- single-loading

- (sleeping rooms without windows??)

- tempered spaces

- no fossil fuel for summer DHW

- Green/plants as microclimate regulation

- horizontal and/or vertical green – greenwall technology

- rainwater collection/use

- greywater for irrigation supplementation in the summer

- centralised systems:

- efficiency

- controllability (tenant awareness/education)

- monitoring

- heat recovery

of program:

- (semi)public space to south

- YMCA/Girls&Boys Club to south

- connection to adjacent athletic facilities

- blended occupancies (coop better suited than condo)

- pedestrian movement/view corridors across site

- adjacent sites – triangles for market/stormwater capture/retail

- “public” space throughout project

- circulation as streets

- usable/delightful stair – not tucked away

- layers of public/private open space